## Slide 1: UVA Brainhack!
===== Week 3 =====
6/13/2025

## Slide 2: Agenda
Review
Data Org
OpenNeuro
Hacking

## Slide 3: MR physics review

## Slide 4: MR physics review
Aligned with B0 and precessing at the same rate
B0
42.58 MHz/T
“Larmour Frequency”

## Slide 5: MR physics review
42.58MHz
Inversion and recovery
LONGITUDINAL
TRANSVERSE
Notes: Technically broad-band RF to capture band around Larmour frequency

## Slide 6: MR physics review
“T1-weighted”

## Slide 7: MR physics review
z
Gradient coils

## Slide 8: MR physics review
Notes: DEMO TIME!

## Slide 9: Data Organization
Intro to BIDS

## Slide 10: DICOM
“Digital Imaging & Communications in Medicine”
2 parts:
  Header: Tag-value pairs
    patient & study identifiers, scanner/protocol settings, imaging params, etc.
  Matrix: either a 2D slice or 3D volume of intensities
    The “data” (not in k-space)
Notes: Open standard for storing, transmitting, and archiving medical images and related data
Adopted by every MRI vendor (Siemens, GE, Philips, etc.)

## Slide 11: DICOM (cont.)
Per-slice orientation
  Tags Image Position (Patient) (0020,0032) & Image Orientation (Patient) (0020,0037) describe every slice
  If the table moves or the gantry tilts, each slice may sit on a slightly different plane
Slice spacing vs. thickness
  Slice Thickness ≠ Spacing Between Slices -- overlap or gaps are perfectly legal
Irregular acquisitions
  Multi-band EPI, local-shims, partial Fourier and interrupted runs create missing or out-of-order indices
Gantry tilt & oblique stacks
  Conversion tools must shearing-correct or embed an affine matrix that some software ignores, risking sub-voxel mis-alignment
Notes: Open standard for storing, transmitting, and archiving medical images and related data
Adopted by every MRI vendor (Siemens, GE, Philips, etc.)

## Slide 12: Example Dicoms (spine)

## Slide 13: Grid resampling (interpolation)

## Slide 14: DICOM  NIfTI (Neuroimaging Informatics Technology Initiative)
Practical | How NIfTI helps | Why not use DICOM
Single‐step loading of whole scans | A 3-D (or 4-D) data block + 348-byte header live in one .nii (or compressed .nii.gz) file | Each 2-D slice is a separate DICOM object → hundreds or thousands of files per run; slow I/O and error-prone bookkeeping
Fast numerical analysis | Straight binary dump of voxel values after a tiny header ⇒ instant numpy/MATLAB access | Pixel data are wrapped in a verbose tag structure; many libraries must first parse metadata before touching the bytes
4-D fMRI & DWI time-series | Extra dimension* is built-in, so 240 volumes live in one object with one affine | Classic DICOM has no concept of a 4-th dimension (software must re-index thousands of “frames” and guess timing order)
Consistent spatial orientation | A single 4 × 4 affine matrix expresses voxel size, slice spacing, and obliquity (used by FSL/SPM/AFNI, etc.) | Orientation is encoded per slice (Image Position/Orientation tags). If the table/gentry moves, slices no longer share a common plane, preventing a tidy 3-D array
Minimal PHI | NIfTI keeps only technical fields needed for analysis; PHI is removed or pushed to a JSON sidecar in BIDS | DICOM headers are legally required to store patient name, birth date, IDs, institution, operator, etc. – this is a privacy and compliance risk during collaboration
Compatibility | Every modern neuro-tool (fMRIPrep, FreeSurfer, Nilearn, BrainVoyager, SPM, FSL, AFNI…) reads NIfTI natively | Vendor PACS viewers read DICOM, but few analysis packages fully support all vendors’ private tags
Why neuroimaging pipelines convert DICOM → NIfTI

## Slide 15: BIDS
Brain Imaging Data Structure (BIDS)
  Community standard for MRI, MEG, iEEG
  Predictable paths: sub-01/ses-pre/anat/sub-01_ses-pre_T1w.nii.gz
  Uses NIfTI file format when applicable
  Sidecar JSON keeps the missing DICOM metadata (TR, TE, slice-timing, phase-encode dir, etc.)

## Slide 16: BIDS (https://bids-specification.readthedocs.io/en/stable/)

## Slide 17: BIDS Walkthrough
HeuDiConv: Heuristic DICOM Converter
https://reproducibility.stanford.edu/bids-tutorial-series-part-2a/